## RDL Payback 60"
GE Lighting
IMMERSION® LED Refrigerated Display Lighting Payback Calculator
60" Version
Average Price per Door |  | 146.5714 |  | FLU system | GE LED | Savings
Labor to install |  | 42
|  |  | Watts per lamp system* | 64 | 29
Please fill out all YELLOW cells |  |  | Annual KW | 4084.6629 | 1524.24
|  |  | Annual Direct Energy Costs | 367.6197 | 137.1816 | 230.4381
|  |  | Annual Compressor kW | 1860.7303 | 694.3534
Cabinet Type | Qty of cases | Price/Door Enduser | Annual Indirect Energy Costs | 167.4657 | 62.4918 | 104.9739
6-door | 0 |  | Total Annual Energy Savings |  |  | 335.412
5-door | 2 | 144
4-door | 1 | 153 | Annual Lamp system costs / door | 38 | 1
3-door | 0 |  | Annual Lamp system costs / store | 532 | 14 | 518
2-door | 0 |  | Total Annual Maintenance Savings* |  |  | 518
*Avg Store has 4 door cabinets |  |  | *Maintenance includes lamp, sockets, ballasts, labor, wiring per door
|  |  | Total Annual Cost Savings |  |  | 853.412
Number of doors | 14
Number of flu lamps | 17
|  |  | Financial Summary |  | Per Store | All Stores
Number of Existing Stores | 100
Avg Energy Rate (€/kwhr) | 0.09 |  | Total Annual Energy Savings |  | 335.412 | 33541.1976
|  |  | Total Annual Maintenance savings |  | 518 | 51800
Watts per Lamp* |  |  | Total Annual Cost Savings |  | 853.412 | 85341.1976
FLU system | 64
GE LED | 29 |  | LED lighting system costs |  | 2052 | 205200
*Avg watts inc. ballast factor |  |  | Installation Costs |  | 588 | 58800
|  |  | Total LED Project Expense |  | 2640 | 264000
Refrig lighting hrs of operation/day
FLU system | 12 |  | Payback (Yr) | 3.0935
GE LED* | 12
*LED lifetime unaffected by on/off or sensor control
Note on D6: Please enter your labor costs to install one door
Note on C12: Please enter in the cases per store
Note on C22: Please add number of stores
Note on C23: Please add Kilowatt per hour Avg USA is $ 0.12 Avg EU is $ 0.20
Note on C26: Please enter in your watts per FLU lamp T5 = 64 Watts T8 = 72 Watts T12 HO = 90 watts
Note on C31: Please enter the number of hours the lamps are on per day
Note on H14: Average Industry costs considering relamp, sockets, ballasts, etc.
Note on D12: Please enter in the price per door

## RDL Payback 70"
GE Lighting
IMMERSION® LED Refrigerated Display Lighting Payback Calculator
70" Version
Average Price per Door |  | 0 |  | FLU system | GE LED | Savings
Labor to install |  | 40
|  |  | Watts per lamp system* | 64 | 34
Please fill out all YELLOW cells |  |  | Annual KW | 3804.3429 | 1595.5714
|  |  | Annual Direct Energy Costs | 570.6514 | 239.3357 | 331.3157
|  |  | Annual Compressor kW | 1733.0331 | 726.8478
Cabinet Type | Qty of cases | Price/Door | Annual Indirect Energy Costs | 259.955 | 109.0272 | 150.9278
6-door | 0 |  | Total Annual Energy Savings |  |  | 482.2435
5-door | 1
4-door | 2 |  | Annual Lamp system costs / door | 30 | 1
3-door | 0 |  | Annual Lamp system costs / store | 450 | 15 | 435
2-door | 1 |  | Total Annual Maintenance Savings* |  |  | 435
*Avg Store has 4 door cabinets |  |  | *Maintenance includes lamp, sockets, ballasts, labor, wiring per door
|  |  | Total Annual Cost Savings |  |  | 917.2435
Number of doors | 15
Number of flu lamps | 19
|  |  | Financial Summary |  | Per Store | All Stores
Number of Existing Stores | 100
Avg Energy Rate (€/kwhr) | 0.15 |  | Total Annual Energy Savings |  | 482.2435 | 48224.3514
|  |  | Total Annual Maintenance savings |  | 435 | 43500
Watts per Lamp* |  |  | Total Annual Cost Savings |  | 917.2435 | 91724.3514
FLU system | 64
GE LED | 34 |  | LED lighting system costs |  | 0 | 0
*Avg watts inc. ballast factor |  |  | Installation Costs |  | 600 | 60000
|  |  | Total LED Project Expense |  | 600 | 60000
Refrig lighting hrs of operation/day
FLU system | 10 |  | Payback (Yr) | 0.65413
GE LED* | 10
*LED lifetime unaffected by on/off or sensor control
Note on D6: Please enter your labor costs to install one door
Note on C12: Please enter in the cases per store
Note on C22: Please add number of stores
Note on C23: Please add Kilowatt per hour Avg USA is $ 0.12 Avg EU is $ 0.20
Note on C26: Please enter in your watts per FLU lamp T5 = 64 Watts T8 = 72 Watts T12 HO = 90 watts
Note on C31: Please enter the number of hours the lamps are on per day
Note on H14: Average Industry costs considering relamp, sockets, ballasts, etc.
Note on D12: Please enter in the price per door